## Slide 1: Verification and Reconciliation of Gas Composition Using Speed of Sound
Juan Martin
Phil Stockton
Bob Peebles
Daniel Laing
Allan Wilson
Graeme Birks (TOTAL)

## Slide 2: Agenda

## Slide 3: Agenda

## Slide 4: Agenda
Standards

## Slide 5: Agenda
Standards
The system

## Slide 6: Agenda
Standards
The system
Sampling

## Slide 7: Agenda
Standards
The system
Sampling
Simulation

## Slide 8: Agenda
Standards
The system
Sampling
Simulation
Verification

## Slide 9: Agenda
Standards
The System
Sampling
Simulation
Verification
Reconciliation

## Slide 10: Flare Gas Reporting
EU regulation 2024/1787, ‘On the reduction of methane emissions in the energy sector’

## Slide 11: Flare Gas Reporting
EU regulation 2024/1787, ‘On the reduction of methane emissions in the energy sector’

## Slide 12
Flare Knock Out Drum
Flare
stack
S
Sample
Continuous?
Intermittent?
Flare LHV Measurement
Flare
header
M
Require a representative composition of the flare gas at this point
Calculate:
LHV
Exit velocity
Gas density
CE, CO2e
Can we check?

## Slide 13
Flare Knock Out Drum
Flare
stack
S
Sample
Continuous?
Intermittent?
Flare LHV Measurement
Flare
header
M
Require a representative composition of the flare gas at this point
Speed of sound measured directly

## Slide 14
Ideal Gas

## Slide 15
Ideal Gas
Real Gas use AGA 10

## Slide 16: LP Flare - SOS
Chart: Divergence between MSOS and tsos - Lp flare
| 45761 | 45760 | 45758 | 45704 | 45670 | 45617
SoS from Sample m/s | 346.1661 | 351.0006 | 342.9991 | 351.4653 | 353.0972 | 368.3298
SoS Measured m/s | 359.2302 | 360.3257 | 360.698 | 361.06 | 364.8 | 367

## Slide 17: Issues with Sampling
Sample point location may be less than ideal
No dedicated sample quill or sample equipment installed
Low process pressure in the flare gas system
The presence of liquids or other contaminants at the sample location

## Slide 18
Flare Knock Out Drum
Flare
stack
Flare LHV Measurement
Flare
header
M
Require a representative composition of the flare gas at this point
Calculate:
LHV
Exit velocity
Gas density
Interface with flare meter

## Slide 19
Wellstream
2nd Stg
Export Oil
Export Gas
1st Stg
Compression Train
Wellstream
2nd Stg
1st Stg
Train B
Train A
Lift Gas
~
~
~
Process Simulation
Composition
Flow
Temperatures
Pressures
Composition
Lower Heating Value (LHV)

## Slide 21
Process Simulation

## Slide 25: Verification of VoS
PROCESS SIMULATION
360
m/s
MSOS = 360 m/s
TSOS = 370 m/s
TSOS = 350 m/s

## Slide 26
Flare
stack
S
Sample
M
Unmeasured streams

## Slide 27
Flare
stack
S
Sample
Unmeasured streams
M
Compressor seal gas
chiefly nitrogen
Could we infer composition from SOS?

## Slide 28: VoS VCR Example Case
SOS
360 m/s
CHARM HC Stream
Flowrate & Comp
“Unknown” Seal Gas
Flowrate & Comp
SOS
360 m/s
Constrained nonlinear optimization used for data reconciliation

## Slide 29: Accord and Data Reconciliation
Papers
  PUFMW 2008: Experiences in the Use of Uncertainty Based Allocation in a North Sea Offshore Oil Allocation System
  NSFMW 2011: Gross Meter Error Detection and Elimination by Data Reconciliation
  NSFMW 2013: Allocation in an Uncertain World: Maximising the Use of Data with UBA on Global Producer III
  NSFMW 2019: Data Reconciliation in Microcosm – Reducing DP Meter Uncertainty. Oculus European Patent Awarded 2024
Projects with successful application
  UBA in ExxonMobil’s Beryl Area offshore oil allocation system
  MAERSK: Allocation of oil and gas between the Dumbarton and Lochranza fields produced across Maersk’s Global Producer III (GPIII) FPSO (Floating Production Storage and Offloading)
  REPSOL: Introduced UBA to the Flotta pipeline system 2024

## Slide 30: VoS VCR Example Case
SOS
360 m/s
CHARM HC Stream
Flowrate & Comp
“Unknown” Seal Gas
Flowrate & Comp
SOS
360 m/s
Constrained nonlinear optimization used for data reconciliation

## Slide 32: Testing the Reconciliation
About 10k gas compositions
Increasing levels of noise
Do we get closer to the true composition?

## Slide 33: Testing the Reconciliation

## Slide 36: VoS VCR Example Case
SOS
360 m/s
CHARM HC Stream
Flowrate & Comp
“Unknown” Seal Gas
Flowrate & Comp
SOS
360 m/s
LHV361 = 40.23 MJ/kg
CE361 = 99.61%
LHV375 = 42.40 MJ/kg
CE375 = 99.67%
Sensitivity of LHV and CE is small, much more dramatic on composition
Constrained nonlinear optimization used for data reconciliation

## Slide 37
But what about the CO2e emissions?

## Slide 38
CO2e Total Emissions

## Slide 39
CO2e Total Emissions
QCH4
QCO2
Qf

## Slide 40
CO2e Total Emissions
Mf
MCH4
MCO2
MCO2e

## Slide 41
CO2e Total Emissions
Mf
MCH4
MCO2
MCO2e

## Slide 42
CO2e Total Emissions
Mf
MCH4
MCO2
MCO2e

## Slide 43: Conclusions

## Slide 44: Conclusions
USM SOS

## Slide 45: Conclusions
USM SOS
Verification

## Slide 46: Conclusions
USM SOS
Verification
Flare Comp’n

## Slide 47: Conclusions
USM SOS
Verification
Flare Comp’n
Reconciliation

## Slide 48: Conclusions
USM SOS
Verification
Flare Comp’n
Reconciliation
Improved Comp

## Slide 49: Conclusions
USM SOS
Verification
Flare Comp’n
Reconciliation
Improved Comp
Burning $?

## Slide 52
Accord Energy Solutions Limited
58 Carden Place, Aberdeen, AB10 1UP
www.accord-esl.com
Phil.Stockton@accord-esl.com
Bob.Peebles@accord-esl.com
Allan.Wilson@accord-esl.com
Juan.Martin@accord-esl.com